|  | UBC Utilities 2040 West Mall, Vancouver, BC V6T 1Z2 Tel: (604) 822-9445 Fax: (604) 822-8833 | UTILITY SERVICE ACTIVATION REQUEST |
| --- | --- | --- |

Part 1. INSTRUCTIONS Operation of all UBC Utilities valves is to be performed by UBC Utilities staff only. Written Activation Request must be submitted to UBC Utilities 24 hours in advance of requested activation date. Contractor to ensure: all required inspections have been completed, the service is safe to activate, and the test results are attached. All changes to Steam & Condensate Systems must be signed off by consulting engineer. All service valves must be located and made accessible by contractor. UBC Utilities is not responsible for any part of the installation beyond the demarcation point of service. Submit Activation Request to UBC Utilities (address & fax # above) to the attention of the Mechanical Utilities Manager.

Part 2.  REQUESTOR INFORMATION

Project Name: 			______		 Contractor or UBC Dept.: 	______________

Project Address:  					 Contact Name:

Title: 				Contact Phone #:  				Date:

Type of Service (check one):  GAS (   )   WATER (   )    STEAM (   )     DISTRICT HEATING (   )     ETS (   )

Size of Service: 					Signature of Requestor: 		______

Location of Service:

Date and Time of Requested Activation: 								_______

WATER: 	Activation purpose:

[ (  Temporary water supply ] 	 	[ (  Testing ]

(  Permanent water supply:

(  Meter & Remote reader/BMS installed  (  Backflow device(s) installed (submit test reports to UBC Utilities with request)

ATTACHED: ( Chlorination Test Results  (  Pressure Test Results  ( Microbiological (total coliform & E. coli) test results

Engineer of Record (name & signature) ___________________________				___

(required for permanent connection and at discretion of UBC Utilities for temporary supply)

GAS:	Provincial Gas Permit Number:  _______________________________ Gas Pressure: _______________

DISTRICT HEATING: ATTACHED: (  Pressure Test Results

Boiler Safety Authority Registration Number: __________________________________________

STEAM:	Boiler Safety Authority Registration Number: 		__________________________

Part 3.  UBC Utilities Office Use Only

Date Request Received:   				 W.O. No.  				_____________

Received By:    					      Authorized by:  	____________			______

Activated By:   				 Date Activated:    			______________

Comments: